colored = further analysis required

THINGS TO ADD/CHANGE:

How wrong must grating tilt be to get a systematic error?

How wrong your result is if you don't include Sagnac phase (vel or pol?)
- does not affect velocity
- removing Sagnac phase raises r by 10 ppt → raises pol by 0.25 ppt
- What if we analyze all the pol data using only + phase shift data? Does sagnac phase matter then?

Redo all polarizability analysis (with new gap width)

Go through theoretical results list, find the ones that are actually semi-empirical

References

DONE:

I just re-analyzed 150305 and had the velocity increase by 5 ppt. → pol increase by 10 ppt.
Will other data days before this one do this?
Check at least 1 velocity set on each data day to see if it reanalyzes the same.
Also, I had cut this because of “too much dv/dt”, but it really wasn't too bad. Un-cut it.
Check other days that have been cut to see if they should be re-included.
SET	CHANGED?	NOTES
150305	up
150302	up
150226	up	tried and failed to do it with bad choppers
150219	up
150212	up
150205	up
150129	up
150126	up
141118	some vels very wrong, most went up but some went way down, net pol down
141111	up

DECIDED NOT TO ADD:

How wrong your result is if you get dL wrong by how much
- Using data taken at dL = -400 um (150429)
  - assume dL = 0 for vel analysis: vel wrong by -0.6%
- Using data taken at dL = 0 (150331)
  - assume dL = 0 for vel analysis: vel wrong by +0.6%
- This seems to imply that one dL is much like another, i.e. error in knowledge of dL yields same error in polarizability regardless of dL